## Project List
Data for Future Local Projects
Agency | Water Type | Project Name | Status | Estimated Start of Operation | Ultimate Yield (AFY) | Average Production (AFY) | Project Use | Estimated Capital Cost (Total in 2015 Dollars) | Estimated Annual O&M Costs (2015 Dollars per year) | Describe what is included in costs (if $ amount is not available, please indicate "yes" or "no" | [6 empty] | Project Description | Comments
| GW Recovery/ Recycled Water/ Seawater Desalination/ Stormwater |  | Construction/ Full Design/ Planning (EIR/ EIS Certified)/ Feasibility/ Conceptual |  |  |  | Direct potable/ Indirect potable/ Non-potable |  |  | Contingency ($) | Engineering/ Legal/ Admin Fees ($) | Integration/ Delivery Infrastructure ($) | Design ($) | Land Acquisition ($) | Environmental ($) | O&M Product water delivery costs ($/yr)
Project Proponent |  | Full project name |  | Online date | If part of a phased project, provide the yield for the phased portion only | Typically 85% utilization factor for NPR; 90% factor for all other resource types. Includes shutdowns, demands, etc. (does not include start-up) Stormwater: base on average capture and include losses | Example: Stormwater recharge = Indirect Potable | Do not include finance costs | Include product water delivery costs | Typically 30% | Typically 20% |  |  | If applicable |  | Include O&M costs for treatment and delivery to the existing distribution facility. Example: Include cost to pump and treat infiltrated stormwater/recycled water
Eastern Municipal Water District | Stormwater | EMWD'a Hemet/San Jacinto Integrated Recharge and Recovery Program | Feasibility | 2025 | 7000 | 6300 | Indirect Potable | 26850000 | 1668500 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
Eastern Municipal Water District | Recycled | EMWD Indirect Potable Reuse | Feasibility | 2020 | 15000 | NEED | Indirect Potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Eastern Municipal Water District | Recycled | Rancho Indirect Potable Reuse | Feasibilty | 2020 | 9070 | NEED | Indirect Potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Note on E58: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on E69: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on F77: based on 30 MGD
Note on C148: MCG: Not sure what this is.
Note on C149: MCG: Not sure what this is