## Project List
Data for Future Local Projects
Agency | Water Type | Project Name | Status | Estimated Start of Operation | Ultimate Yield (AFY) | Average Production (AFY) | Project Use | Estimated Capital Cost (Total in 2015 Dollars) | Estimated Annual O&M Costs (2015 Dollars per year) | Describe what is included in costs (if $ amount is not available, please indicate "yes" or "no" | [6 empty] | Project Description | Comments
| GW Recovery/ Recycled Water/ Seawater Desalination/ Stormwater |  | Construction/ Full Design/ Planning (EIR/ EIS Certified)/ Feasibility/ Conceptual |  |  |  | Direct potable/ Indirect potable/ Non-potable |  |  | Contingency ($) | Engineering/ Legal/ Admin Fees ($) | Integration/ Delivery Infrastructure ($) | Design ($) | Land Acquisition ($) | Environmental ($) | O&M Product water delivery costs ($/yr) | Project Description
Project Proponent |  | Full project name |  | Online date | If part of a phased project, provide the yield for the phased portion only | Typically 85% utilization factor for NPR; 90% factor for all other resource types. Includes shutdowns, demands, etc. (does not include start-up) Stormwater: base on average capture and include losses | Example: Stormwater recharge = Indirect Potable | Do not include finance costs | Include product water delivery costs | Typically 30% | Typically 20% |  |  | If applicable |  | Include O&M costs for treatment and delivery to the existing distribution facility. Example: Include cost to pump and treat infiltrated stormwater/recycled water
Foothill Municipal Water District | Recycled | Recycled Water Scalping Plant | Planning (EIR/EIS Certified) | 2018 | 300 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Foothill Municipal Water District | Recycled | Arroyo Seco - Flint Wash Project | Conceptual | 2014 | 500 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Foothill Municipal Water District | Recycled | Eaton Canyon Project | Conceptual | 2012 | 560 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Foothill Municipal Water District | Recycled | Verdugo Basin Project | Conceptual | 2020 | 560 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Note on E58: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on E69: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on F77: based on 30 MGD
Note on C148: MCG: Not sure what this is.
Note on C149: MCG: Not sure what this is