## Project List
Data for Future Local Projects
Agency | Water Type | Project Name | Status | Estimated Start of Operation | Ultimate Yield (AFY) | Average Production (AFY) | Project Use | Estimated Capital Cost (Total in 2015 Dollars) | Estimated Annual O&M Costs (2015 Dollars per year) | Describe what is included in costs (if $ amount is not available, please indicate "yes" or "no" | [6 empty] | Project Description | Comments
| GW Recovery/ Recycled Water/ Seawater Desalination/ Stormwater |  | Construction/ Full Design/ Planning (EIR/ EIS Certified)/ Feasibility/ Conceptual |  |  |  | Direct potable/ Indirect potable/ Non-potable |  |  | Contingency ($) | Engineering/ Legal/ Admin Fees ($) | Integration/ Delivery Infrastructure ($) | Design ($) | Land Acquisition ($) | Environmental ($) | O&M Product water delivery costs ($/yr)
Project Proponent |  | Full project name |  | Online date | If part of a phased project, provide the yield for the phased portion only | Typically 85% utilization factor for NPR; 90% factor for all other resource types. Includes shutdowns, demands, etc. (does not include start-up) Stormwater: base on average capture and include losses | Example: Stormwater recharge = Indirect Potable | Do not include finance costs | Include product water delivery costs | Typically 30% | Typically 20% |  |  | If applicable |  | Include O&M costs for treatment and delivery to the existing distribution facility. Example: Include cost to pump and treat infiltrated stormwater/recycled water
Municipal Water District of Orange County | GW Recovery | IRWD Wells 51, 52 & 53 Potable (Non-exempt) | Feasibility | 2015 | 2400 | 2160 | Direct potable | 9413600 | 1755335.5433 | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | GW Recovery | SJC San Juan Desalter Project Expansion | Advanced Planning (EIR/EIS Certified) | 2014 | 2000 | 1800 | Direct potable | 6178000 | 1406518.8648 | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | GW Recovery | Tustin Legacy Well # 1 | Advanced Planning (EIR/EIS Certified) | 2015 | 2200 | 1980 | Direct potable | 7795800 | 1547170.7513 | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Stormwater | Borrego Canyon Wash Bypass Channel Improvement within the portion of Shea/Baker Ranch Property (Bypass Channel) | Design | 2020 | 654 | 588.6 | Indirect Potable | 16647000 | 355534.5 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
Municipal Water District of Orange County | Stormwater | Fletcher Basin Rehabilitation | Design | 2020 | 1800 | 1620 | Indirect Potable | 5907000 | 402960 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
Municipal Water District of Orange County | Stormwater | Santiage Basins Intertie | Conceptual | 2020 | 2000 | 1800 | Indirect Potable | 3007200 | 453700 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
MWDOC / OCWD | Seawater Desalination | Huntington Beach Seawater Desalination Project | Full Design | 2018 | 56000 | 50400 | Direct potable | 892770000 | 56005000 | 20000000 | 58803000 | 72044000 | 69453000 | Included | Included | Included | NEED | Source: 2014 Clean Energy Capital Report - Capital assumption includes all cost identified on page 10, including capitalized interest - No CPI Adjustment
MWDOC / SCWD | Seawater Desalination | Doheny Beach Seawater Desalination Project | Feasibility | 2020 | 16000 | 14400 | Direct potable | 202608000 | 12909900 | 25% | 8400000 | Need | 25331000 | Included | Included | ? | NEED | Source: 2013 Final Pilot Study Summary Report - High case with Fe/Mn pretreatment included - Converted to 2015 dollars using CPI
Municipal Water District of Orange County | Recycled | San Clemente Water Reclamation Project/San Clemente Water Reclamation Project Expansion | Under Construction | 2015 | 1000 | NEED | Non-potable | 16000000 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | LBCWD Laguna Canyon Recycling Project | Conceptual | 2015 | 200 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | SMWD Chiquita Reclamation Project/SMWD Chiquita Development of Non-Domestic Water System Expansion I | Advanced Planning (EIR/EIS Certified) | 2018 | 3360 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | SMWD Chiquita Reclamation Project/SMWD Chiquita Development of Non-Domestic Water System Expansion II | Advanced Planning (EIR/EIS Certified) | 2018 | 5600 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | SOCWA J.B. Latham AWT Joint project/South Coast WD J.B. Latham AWT Joint project | Feasibility | 2020 | 7841 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | IRWD Michelson Reclamation Project/IRWD Michelson Reclamation Project Expansion, Phase II | Conceptual | 2025 | 2300 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | OCWD Groundwater Replenishment System/OCWD Groundwater Replenishment System Spreading Project, Phase III | Conceptual | 2025 | 30000 | NEED | Indirect Potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Municipal Water District of Orange County | Recycled | El Toro WD Recycling/El Toro Recycled Water System Expansion II | Conceptual | 2018 | 225 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Note on K11: U07086: Listed for construction only
Note on E58: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on E69: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on F77: based on 30 MGD
Note on C148: MCG: Not sure what this is.
Note on C149: MCG: Not sure what this is