## Project List
Data for Future Local Projects
Agency | Water Type | Project Name | Status | Estimated Start of Operation | Ultimate Yield (AFY) | Average Production (AFY) | Project Use | Estimated Capital Cost (Total in 2015 Dollars) | Estimated Annual O&M Costs (2015 Dollars per year) | Describe what is included in costs (if $ amount is not available, please indicate "yes" or "no" | [6 empty] | Project Description | Comments
| GW Recovery/ Recycled Water/ Seawater Desalination/ Stormwater |  | Construction/ Full Design/ Planning (EIR/ EIS Certified)/ Feasibility/ Conceptual |  |  |  | Direct potable/ Indirect potable/ Non-potable |  |  | Contingency ($) | Engineering/ Legal/ Admin Fees ($) | Integration/ Delivery Infrastructure ($) | Design ($) | Land Acquisition ($) | Environmental ($) | O&M Product water delivery costs ($/yr) | Project Description
Project Proponent |  | Full project name |  | Online date | If part of a phased project, provide the yield for the phased portion only | Typically 85% utilization factor for NPR; 90% factor for all other resource types. Includes shutdowns, demands, etc. (does not include start-up) Stormwater: base on average capture and include losses | Example: Stormwater recharge = Indirect Potable | Do not include finance costs | Include product water delivery costs | Typically 30% | Typically 20% |  |  | If applicable |  | Include O&M costs for treatment and delivery to the existing distribution facility. Example: Include cost to pump and treat infiltrated stormwater/recycled water
West Basin Municipal Water District | Seawater Desalination | Redondo Beach - 10 MGD | Feasibility | 2020 | 11200 | 10080 | Potable | 153677000 | 11634000 | 20% | 18% | 14000000 | included | ? | ? | ? |  | Source: 2013 Program Master Plan: Project Costs - $/kWh rates adjusted from $0.075 / kWh to $0.110 / kWH - Converted to 2015 dollars using CPI
West Basin Municipal Water District | Seawater Desalination | El Segundo - 20 MGD | Feasibility | 2020 | 22400 | 20160 | Potable | 291248000 | 21047000 | 20% | 18% | 33000000 | included | ? | ? | ? |  | Source: 2013 Program Master Plan: Project Costs - $/kWh rates adjusted from $0.075 / kWh to $0.110 / kWH - Converted to 2015 dollars using CPI
West Basin Municipal Water District | Seawater Desalination | Redondo Beach - 40 MGD | Feasibility | 2020 | 44800 | 40320 | Potable | 439312000 | 41181000 | 20% | 18% | 44086000 | included | ? | ? | ? |  | Source: 2013 Program Master Plan: Project Costs - $/kWh rates adjusted from $0.075 / kWh to $0.110 / kWH - Converted to 2015 dollars using CPI
West Basin Municipal Water District | Seawater Desalination | El Segundo - 60 MGD | Feasibility | 2020 | 67200 | 60480 | Potable | 706519000 | 60548000 | 20% | 18% | 102512000 | included | ? | ? | ? |  | Source: 2013 Program Master Plan: Project Costs - $/kWh rates adjusted from $0.075 / kWh to $0.110 / kWH - Converted to 2015 dollars using CPI
West Basin Municipal Water District | Recycled | West Basin Water Reclamation Program/Carson Regional Water Recycling Facility (CRWRF) Phase III Expansion Project -Tesoro Expansion Only | Feasibility | 2018 | 2100 | NEED | Non-potable | 23282000 | NEED | ? | ? | ? | ? | ? | ? | ?
Note on E19: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on E30: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on F38: based on 30 MGD
Note on E58: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on E69: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on F77: based on 30 MGD
Note on C148: MCG: Not sure what this is.
Note on C149: MCG: Not sure what this is